## HBsAg Assays
FDA-Approved HBsAg Assays (Updated 8/29/2012)
Tradename | Method | Sample Type | Manufacturer | Sample Volume (microliters) | Initial Test Result = Reactive (S/CO ≥ 1.00)1 | Confirmation Requirements | Confirmation Protocol
PRISM HBsAg Reagent Kit2 | Chemiluminescent Immunoassay (ChLIA) | Serum/Plasma | Abbott Laboratories | 100µL | Retest in Duplicate | HBsAg confirmation required (repeatedly reactive specimens) using PRISM HBsAg Confirmation Assay | Neutralization
ARCHITECT HBsAg Reagent Kit | Chemiluminescent Micropartical Immunoassay (CMIA) | Serum/Plasma | Abbott Laboratories | 200µL | Retest in Duplicate | HBsAg confirmation required (repeatedly reactive specimens) using ARCHITECT HBsAg Confirmation Assay | Neutralization
ARCHITECT HBsAg Qualitative Reagent Kit | Chemiluminescent Micropartical Immunoassay (CMIA) | Serum/Plasma | Abbott Laboratories | 200µL | Retest in Duplicate | HBsAg confirmation required (repeatedly reactive specimens) using ARCHITECT HBsAg Qualitative Confirmation Assay | Neutralization
AxSYM HBsAg Reagent Kit3 | Micropartical Enzyme Immunoassay (MEIA) | Serum/Plasma | Abbott Laboratories | 194µL | Retest in Duplicate | HBsAg confirmation required (repeatedly reactive specimens) using AxSYM HBsAg Confirmation Assay | Neutralization
GS HBsAg EIA 3.0 Reagent Kit | Enzyme Immunoassay (EIA) | Serum/Plasma | Bio-Rad Laboratories | 100µL | Retest in Duplicate | HBsAg confirmation required (repeatedly reactive specimens) using GS HBsAg Confirmatory Assay 3.0 | Neutralization
ETI-MAK-2 Plus Reagent Kit4 | Enzyme Immunoassay (EIA) | Serum/Plasma | DiaSorin Diagnostics | 100µL | Retest in Duplicate | HBsAg confirmation required (repeatedly reactive specimens) using DiaSorin HBsAg Confirmatory Assay | Neutralization
VITROS HBsAg ECi Reagent Kit5 | Chemiluminescent Immunoassay (ChLIA) | Serum/Plasma | Ortho-Clinical Diagnostics | 80µL | Retest in Duplicate | HBsAg confirmation required (repeatedly reactive specimens) using VITROS HBsAg Confirmatory Assay | Neutralization
ELECSYS HBsAg Reagent Kit | Electrochemiluminescent Immunoassay (ECLIA) | Serum/Plasma | Roche Diagnostics | 50µL | Retest in Duplicate | HBsAg confirmation required (repeatedly reactive specimens) using ELECSYS HBsAg Confirmatory Assay | Neutralization
Immulite HBsAg Reagent Kit (1000/2000)6 | Chemiluminescent Enzyme Immunoassay (ChLIA) | Serum/Plasma | Siemens Healthcare Diagnostics | 100µL | Retest in duplicate | HBsAg confirmation required (repeatedly reactive specimens) using Immulite HBsAg Confirmatory Assay | Neutralization
ADVIA Centaur HBsAg Reagent Kit7 | Magnetic Particle Chemiluminescent Immunoassay (ChLIA) | Serum/Plasma | Siemens Healthcare Diagnostics | 100µL | Retest in Duplicate | HBsAg confirmation required (repeatedly reactive specimens) using ADVIA Centaur HBsAg Confirmatory Assay | Neutralization
1. The Signal to Cut-off Ratio (S/C) for all HBsAg/Anti-HBs assays is ≥1 (reactive) and <1 (non-reactive). This is the index value where 10mIU/mL = 1 Index Value Unit. 2. Screening assay for donated blood to prevent transmission of HBV to recipients of blood and blood components. 3. The assay may be used to test for HBV in pregnant women. 4. This assay may be used to screen for hepatitis B infection in pregnant women to identify neonates who are at high risk of acquiring HBV during the perinatal period. 5. In instances when HBsAG is used as a stand-alone assay (e.g., in pregnant women being screened to identify neonates who are at risk for acquiring HBV during perinatal period), supplemental testing performed with VITROS HBsAg Confirmatory Kit must be used to confirm the result. 6. When Immulite is used as a stand-alone assay for screening pregnant women to identify neonates who are at risk for acquiring HBV during perinatal period, supplemental testing performed with Immulite HBsAg Confirmatory Kit must be used to confirm the test. 7. When the ADVIA Centaur HBsAg is used as a stand-alone assay (e.g., screening for pregnant women), all results >1.00 should be considered initially reactive. Repeat testing, and supplemental testing performed with ADVIA Centaur HBsAg Confirmatory Assay must be used to confirm the result.